MEDICAL MONITORING AND ADVANCED SENSOR DATA PROCESSING

TASK 02: TIME FREQUENCY ANALYSIS

Emilio Borrelli, Victor Hug, Eva Pohlen 5-28-2025

# Tasks

Q1	Consider a one-minute segment of two ECG signals, one with noise and the other without,

and for them

- Plot both signals and compute the following descriptive measures:

Figure 1: One-minute segment of ECG signal without additional noise

Figure 2: One-minute segment of ECG signal with powerline noise

|  | Dataset Name | Mean | Median | Variance | Std Dev | Skewness | RMS | Zero-Crossing Rate | Energy | Power |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Clean BP | -0.001124 | -0.011291 | 0.002783 | 0.052757 | 0.690227 | 0.052768 | 0.0225 | 1.670717e^+02 | 2.784482e^-03 |
| 2 | Noisy BP | 0.001727 | 0.006714 | 0.135900 | 0.368646 | -0.462944 | 0.368647 | 0.0900 | 8.154151e^+03 | 1.359003e^-01 |

Discuss, in one paragraph, about what you observe from the descriptive measures computed from the signals with and without noise.

There are slight differences in mean and median between the clean and noisy data. More significantly though, the noisy data has a much higher variance, standard deviation, and RMS, as expected since these measures describe noise in data. The noisy data has lower positive skewness, probably because a clean ECG has positive skewness (most amplitudes that vary from the baseline are higher, not lower) and the noise added more lower amplitudes. The noisy data also has a higher zero-crossing rate, since the noise added amplitudes both higher and lower than the ground truth. We also observe higher energy and power in the noisy data.

b.

Overlapping Segments on BioPac ECG without additional noise:

| Segment | Mean | Median | Variance | Std Dev | Skewness | RMS | Zero-Crossing Rate | Energy | Power |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.001580 | -0.008545 | 0.002539 | 0.050392 | 0.765119 | 0.050414 | 0.0244 | 25.418013 | 0.002542 |
| 2 | 0.000752 | -0.009918 | 0.002645 | 0.051430 | 0.798605 | 0.051433 | 0.0199 | 26.456432 | 0.002645 |
| 3 | -0.006209 | -0.017395 | 0.002703 | 0.051989 | 0.855083 | 0.052355 | 0.0159 | 27.413609 | 0.002741 |
| 4 | -0.009176 | -0.019531 | 0.002555 | 0.050551 | 0.798503 | 0.051374 | 0.0153 | 26.395971 | 0.002639 |
| 5 | -0.001878 | -0.012360 | 0.002563 | 0.050629 | 0.808040 | 0.050662 | 0.0212 | 25.668619 | 0.002567 |
| 6 | 0.003915 | -0.005341 | 0.002565 | 0.050650 | 0.865878 | 0.050798 | 0.0303 | 25.807196 | 0.002580 |
| 7 | -0.000960 | -0.007324 | 0.002743 | 0.052372 | 0.647487 | 0.052378 | 0.0276 | 27.437615 | 0.002743 |
| 8 | -0.005093 | -0.013275 | 0.002821 | 0.053110 | 0.578511 | 0.053351 | 0.0203 | 28.466241 | 0.002846 |
| 9 | -0.000647 | -0.011139 | 0.003216 | 0.056707 | 0.545286 | 0.056708 | 0.0219 | 32.161129 | 0.003216 |
| 10 | 0.003436 | -0.004883 | 0.003393 | 0.058253 | 0.392948 | 0.058352 | 0.0262 | 34.052659 | 0.003405 |
| 11 | 0.00137 | -0.00824 | 0.002896 | 0.053813 | 0.58877 | 0.053828 | 0.024 | 28.977349 | 0.002897 |

Overlapping segments on BioPac ECG with powerline noise:

| Segment | Mean | Median | Variance | Std Dev | Skewness | RMS | Zero-Crossing Rate | Energy | Power |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | -0.005123 | 0.042572 | 0.135223 | 0.367727 | -1.583331 | 0.367744 | 0.0892 | 1352.495245 | 0.135236 |
| 2 | -0.001635 | 0.065308 | 0.157946 | 0.397424 | -0.665202 | 0.397408 | 0.0992 | 1579.486693 | 0.157933 |
| 3 | 0.001202 | 0.065002 | 0.212098 | 0.460541 | -0.458970 | 0.460520 | 0.0989 | 2120.998723 | 0.212079 |
| 4 | 0.007151 | 0.028381 | 0.233814 | 0.483543 | -0.343120 | 0.483571 | 0.0972 | 2338.646717 | 0.233841 |
| 5 | 0.002909 | 0.061035 | 0.311566 | 0.558181 | -0.404182 | 0.558161 | 0.0982 | 3115.747787 | 0.311544 |
| 6 | -0.002672 | 0.105591 | 0.298978 | 0.546789 | -0.372323 | 0.546768 | 0.0999 | 2989.853058 | 0.298955 |
| 7 | 0.003540 | 0.017395 | 0.136620 | 0.369621 | -0.305735 | 0.369620 | 0.0943 | 1366.323689 | 0.136619 |
| 8 | 0.001528 | 0.015564 | 0.083000 | 0.288098 | -0.364476 | 0.288087 | 0.0944 | 830.025924 | 0.082994 |
| 9 | -0.009747 | 0.035553 | 0.104304 | 0.322962 | -0.262383 | 0.323093 | 0.1001 | 1043.993423 | 0.104389 |
| 10 | -0.001286 | -0.003510 | 0.070052 | 0.264673 | -0.200434 | 0.264663 | 0.0996 | 700.535436 | 0.070047 |
| 11 | 0.008232 | -0.016174 | 0.042147 | 0.205298 | 0.147684 | 0.205453 | 0.0997 | 422.151076 | 0.042211 |

Non-overlapping Segments on BioPac ECG without additional noise:

| Segment | Mean | Median | Variance | Std Dev | Skewness | RMS | Zero-Crossing Rate | Energy | Power |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.001580 | -0.008545 | 0.002539 | 0.050392 | 0.765119 | 0.050414 | 0.0244 | 25.418013 | 0.002542 |
| 2 | -0.006209 | -0.017395 | 0.002703 | 0.051989 | 0.855083 | 0.052355 | 0.0159 | 27.413609 | 0.002741 |
| 3 | -0.001878 | -0.012360 | 0.002563 | 0.050629 | 0.808040 | 0.050662 | 0.0212 | 25.668619 | 0.002567 |
| 4 | -0.000960 | -0.007324 | 0.002743 | 0.052372 | 0.647487 | 0.052378 | 0.0276 | 27.437615 | 0.002743 |
| 5 | -0.000647 | -0.011139 | 0.003216 | 0.056707 | 0.545286 | 0.056708 | 0.0219 | 32.161129 | 0.003216 |
| 6 | 0.001370 | -0.008240 | 0.002896 | 0.053813 | 0.588770 | 0.053828 | 0.0240 | 28.977349 | 0.002897 |

Non-overlapping segments on BioPac ECG with powerline noise:

| Segment | Mean | Median | Variance | Std Dev | Skewness | RMS | Zero-Crossing Rate | Energy | Power |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | -0.005123 | 0.042572 | 0.135223 | 0.367727 | -1.583331 | 0.367744 | 0.0892 | 1352.495245 | 0.135236 |
| 2 | 0.001202 | 0.065002 | 0.212098 | 0.460541 | -0.458970 | 0.460520 | 0.0989 | 2120.998723 | 0.212079 |
| 3 | 0.002909 | 0.061035 | 0.311566 | 0.558181 | -0.404182 | 0.558161 | 0.0982 | 3115.747787 | 0.311544 |
| 4 | 0.003540 | 0.017395 | 0.136620 | 0.369621 | -0.305735 | 0.369620 | 0.0943 | 1366.323689 | 0.136619 |
| 5 | -0.009747 | 0.035553 | 0.104304 | 0.322962 | -0.262383 | 0.323093 | 0.1001 | 1043.993423 | 0.104389 |
| 6 | 0.008232 | -0.016174 | 0.042147 | 0.205298 | 0.147684 | 0.205453 | 0.0997 | 422.151076 | 0.042211 |

The overlapping windows give a more fluid representation of the data.

Q2	Consider a ten-second segment of two ECG signals, one with powerline noise and the other

without, and for them (1 Point):

- Compute the DFT. Plot the signals in the time domain and the absolute value of the DFT.

Figure 3: Signal of 10s windows of BioPac ECG, without additional noise (left) and with powerline noise (right)

Figure 3: DFT calculated on 10s window of ECG signal from BioPac device, without additional noise (left) and with powerline noise (right)

Discuss, in one paragraph (max. 150 words), the spectrums computed from both

signals. What information can you get from them?

The noisy ECG shows 3 separate spikes, only one of which overlaps with the DFT amplitude of the clean ECG. The other two appear to be the frequency at which the powerline device introduced its noise.

- Compute the Power Spectral Density (PSD) from the signals analysed in the previous item. For this, consider the periodogram and the Welch's method. From the PSD

calculated with the Welch's method, compute the Spectral Centroid and Spectral

Entropy. Compare two ECG, one from the chest (Biopac recording) and one from the

wrist (smartwatch). What happens to the spectra if noise is introduced?

Figure 4: PSD of 10s window of BioPac ECG without additional noise, calculated via periodogram (left) and Welch’s method (right)

Figure 5: PSD of 10s window of BioPac ECG with powerline noise, calculated via periodogram (left) and Welch’s method (right)

The spectra of the ECGs with powerline noise show three separate peaks, where they only showed one in the ECG without powerline noise. These results are similar to the effects the powerline noise had on the DFTs. The only peak that is also represented in the clean ECG (the leftmost one) is notably the one with the smallest amplitude.

Figure 6: Signal of 10s windows of Smartwatch ECG, without additional noise (left) and with powerline noise (right)

Figure 7: PSD of 10s window of Smartwatch ECG without additional noise, calculated via periodogram (left) and Welch’s method (right)

Figure 8: PSD of 10s window of Smartwatch ECG with powerline noise, calculated via periodogram (left) and Welch’s method (right)

Figure 9: spectral centroid and entropy of ECGs from BioPac (left) and smartwatch (right) devices, with (noisy) and without (clean) powerline noise

The spectra of the smartwatch by comparison shows only two peaks, one of which is also visible in the clean ECG data. Furthermore, the peak caused by the powerline noise is smaller than the one in the clean ECG, which is the opposite of what happened to the BioPac’s ECG’s PSD when noise was introduced (there the noise had higher power than the ground truth).

Discuss, in one paragraph (max. 150 words), the PSDs computed from both signals. What

information can you get from them? What is the difference in comparison with the spectrums

from the previous item?

Unlike the DFTs, the PSDs are not symmetrical and show no negative amplitudes.

Both show amplitudes at the same frequencies and therefore yield information about which frequencies are most common in the data.

Q3. 	Consider two finger PPG signals (1 at rest, 1 with motion noise) and do the same as question

Q2 for those signals. (1 point)

Figure 10: Signal of 10s windows of Smartwatch PPG, without additional noise (left) and with motion noise (right)

Figure 11: DFT calculated on 10 window of PPG signal from smartwatch device, without additional noise (left) and with motion noise(right)

Figure 12: PSD of 10s window of Smartwatch PPG without additional noise, calculated via periodogram (left) and Welch’s method (right)

Figure 13: PSD of 10s window of Smartwatch PPG with motion noise, calculated via periodogram (left) and Welch’s method (right)

Figure 14: Centroid and entropy on smartwatch PPG data, with (noisy) and without motion noise

There is very limited information gained from the DFT spectrum, since the amplitude is almost entirely at a frequency near 0 Hz. There is a bit more visible in the PSD graphs, especially when using Welch’s method, but even then, there is no visible noise.

Q4. 	In the provided notebook, 3 functions are provided (0.5 points):

generate_composite_signal generates a signal summing sinusoids at specified frequencies.

generate_non_stationary_signals generates a composite signal concatenating sinusoids of

different frequencies over time, and its time-reversed version.

Compute the spectrum for all the generated signals. Plot the signals and the power spectra.

Figure 15: Composed signal (left) and its power spectrum (right)

Figure 16: Non-stationary signal (left) and its power spectrum (right)

Figure 17: Reversed non-stationary signal (left) and its power spectrum (right)

Discuss, in one paragraph (max. 150 words), the spectra computed from the signals. What can

you observe on them? What might you conclude?

The spectra for each signal show peaks at 10, 25, 50, and 100 Hz. The power spectrum for the non-stationary signals are identical, since they are mirrored to each other. While the composed signal’s peaks are at an equal power level, the non-stationary signals show higher amplitudes at 10 Hz (and to a lesser extent at 100 Hz). There is also noise in the non-stationary signals’ baselines, while the amplitudes of the composite signal are only at the pre-defined frequencies.

Q5.  	Considering the signals generated in Q4, compute the Short Time Fourier Transform (STFT)

ONLY for the non-stationary signal (variable signal_non_st), and its reversed version (variable

reversed_signal_non_st). Plot the signals and the STFT (0.5 points).

Figure 18: Non-stationary signal plot

Figure 19: Non-stationary signal STFT

Figure 20: Reversed non-stationary signal plot

Figure 21: Reversed non-stationary signal STFT

Discuss, in one paragraph (max. 150 words), the STFT computed from the signals. What can you

observe on them? What might you conclude? Compare the information provided by the STFT in

comparison with the Fourier transform and the PSD.

TODO

Q6. (0.5 points)

a.  	Compute the Short Time Fourier Transform (STFT) of a ten-second segment of two ECG

signals, one with noise and the other without. Plot the signals and the STFT.

Figure 22: Plot of the original signal (a 10s window of a BioPac ECG without additional noise)

Figure 23: STFT on 10s window of clean ECG signal

Figure 24: Plot of the original signal (a 10s window of a BioPac ECG with powerline noise)

Figure 25: STFT on 10s window of noisy ECG signal

b. Compute the STFT of a ten-second segment of two PPG signals (finger and wrist) with

motion noise. Plot the signals and the STFT.

TODO (6b does not run on my machine, please insert the 4 plots here as figure 26-29)

Discuss, in one paragraph (max. 150 words), the STFT computed from the ECG and PPG

signals. What can you observe on them? What might you conclude?

TODO: answer question

Q7. (0.5 points)

a. Compute the Continuous wavelet transform (CWT) of a ten-second segment of two ECG

signals, one with noise and the other without. Plot the signals and the CWT. Experiment

with different mother wavelets.

Figure 30: Plot of the original signal (a 10s window of a BioPac ECG without additional noise)

Figure 31: CWT scalogram on 10s window of clean ECG using gaus1 wavelet

Figure 32: CWT scalogram on 10s window of clean ECG using cmor1.5-1.0 wavelet

Figure 33: Plot of the original signal (a 10s window of a BioPac ECG with powerline noise)

Figure 34: CWT scalogram on 10s window of noisy ECG using gaus1 wavelet

Figure 35: CWT scalogram on 10s window of noisy ECG using cmor1.5-1.0 wavelet

b. Compute the CWT of ten-second segment of two PPG signals. Plot the signals and the

CWT. Experiment with different mother wavelets.

TODO: insert plot

Figure 36: Plot of the original signal (10s window of BioPac PPG with motion noise)

Figure 37: CWT scalogram on 10s window of BioPac PPG with motion noise using cmor wavelet

Figure 38: Plot of the original signal (10s window of Smartwatch PPG with motion noise)

Figure 39: CWT scalogram on 10s window of Smartwatch PPG with motion noise using cmor wavelet

Discuss, in one paragraph (max. 150 words), the CWT computed from the ECG and PPG

signals. What can you observe on them? What might you conclude? What changes do you

observe when changing the mother wavelet?

TODO: answer question

Q8. (0.5 points)

a.  	Compute the discrete wavelet transform (DWT) of a ten-second segment of two ECG

signals, one with noise and the other without. Plot the signals and the detail and

approximation coefficients. Experiment with different levels of decomposition and

mother wavelets.

Figure 40: Original signal, approximation coefficients, and detail coefficients of ECG without additional noise recorded with the BioPac device

Figure 41: Original signal, approximation coefficients, and detail coefficients on ECG with powerline noise recorded with the BioPac device

b.  	Compute the DWT of a ten-second segment of two PPG signals. Plot the signals and the

detail and approximation coefficients. Experiment with different levels of decomposition

and mother wavelets.

Figure 40: Original signal, approximation coefficients, and detail coefficients of PPG without additional noise recorded with the Smartwatch device

TODO: add graph of 2nd PPG

Figure 41: Original signal, approximation coefficients, and detail coefficients of PPG without additional noise recorded with the BioPac device

Discuss, in one paragraph (max 150 words) the DWT computed from the ECG and PPG

signals. What can you observe on them? What might you conclude? What changes do you

observe when changing the levels of decomposition and mother wavelet?

TODO: answer question

Q9.  	Applying DWT in ECG signal processing (0.5 point).

Baseline wander correction

a. 	Take a twenty-second segment of an ECG signal. Determine the maximum useful level

of decomposition for that signal. Bear this in mind for the following steps.

TODO: is this even a question?

b. 	Perform DWT decomposition. Plot the signal and decomposition coefficients.

22.05.2025

(10s windows used for better visibility)

Figure 42: 10s window of BioPac ECG with no additional noise and its Level 0-11 coefficients

c. 	Store baseline approximation coefficients in a variable and make detail coefficients

equal to zero. Reconstruct the baseline. Plot the reconstructed baseline.

Figure 43: Reconstructed baseline of 10s window of BioPac ECG with no additional noise

d. 	Remove baseline wander by zeroing approximation coefficients and keeping detail

coefficients. Store those coefficients in a variable. Reconstruct the signal without the

baseline. Plot the original and reconstructed signal without baseline.

(For original signal see figure 42)

Figure 44: Reconstructed signal of 10s window of BioPac ECG with no additional noise

e. 	Experiment with the mother wavelets 'db4', 'sym4', 'bior3.9', and the levels of

decomposition 6, 8, 10. Plot the original signal and the signal without baseline for each

case.

(For original signal see figure 42)

Figure 45: Baseline removal using db4 at decomposition levels 6, 8, and 10

Figure 46: Baseline removal using sym4 at decomposition levels 6, 8, and 10

Figure 47: Baseline removal using bior3.9 at decomposition levels 6, 8, and 10

Discuss, in one paragraph (max. 200 words), about the followed procedure and the results

you got. What might you conclude from them? What changes do you observe when changing

the levels of decomposition and mother wavelet?

TODO: answer question

Q10. 	Denoising using the DWT (0.5 points)

a. 	Take a twenty-second segment of an ECG signal. Determine the maximum useful level

of decomposition for that signal. Bear this in mind for the following steps.

TODO: answer question?

b. 	Perform DWT decomposition. Plot the signal and decomposition coefficients (samples

in horizontal axis).

(10s windows used for better visibility)

Figure 48: 10s window of BioPac ECG with powerline noise and its Level 0-11 coefficients

c. 	Filtering process is performed by zeroing detail coefficients (that usually contain the

noise) and afterwards reconstructing the signal.

Experiment by zeroing different detail coefficients D1, D2, D3. Reconstruct the signal.

Plot the original and filtered signal.

(For a clear plot of the original signal see figure 48)

Figure 49: Denoising of 10s window of BioPac ECG with powerline noise by zeroing D1, D2, and D3

d. 	Experiment with the mother wavelets 'db4', 'sym4', 'bior3.9', and the levels of

decomposition 6, 8, 10. Plot the original signal and the signal without noise for each

case.

Figure 50: Denoising using db4 at decomposition levels 6, 8, and 10

Figure 51: Denoising using sym4 at decomposition levels 6, 8, and 10

Figure 52: Denoising using bior3.9 at decomposition levels 6, 8, and 10

Discuss, in one paragraph (max. 200 words), about the followed procedure and the results

you got. What might you conclude from them? What changes do you observe when changing

the levels of decomposition and mother wavelet?

TODO: answer question

# Literature

[1] 02 Monitoring fundamentals.pdf (Lecture Slides)